Date:	July 14, 2026
Time:	5:30 pm
Place:	The Home of Wes Gardner
Present:		Kevin Meagher, Chip Marvin (phone), Natty Hagood, Wes Gardner

		
Order
Kevin called the regular monthly meeting of the Squaw Creek Water District to order at 5:42 pm. Wes made a motion to accept the minutes of June 9, 2026, seconded by Natty; all in favor. 

Operator’s Report by Clearwater Operations June 2026
Water Usage

June 2026 average Gallons per Day: 29,717 gallons
June 2025 average Gallons per Day: 29,974 gallons
This number is likely lower than actual water usage due to the age of the totalizer. We recommend replacing the meter with a newer meter that can be tied into the SCADA system. Automation Werx quoted new totalizer for $8,578.73. This does not include the labor from a plumber and an electrician to install the meter.

Work Completed in June:

6/1/26: Collected routine bacteria sample at 2175 Pollard Hill Rd. 
Results: TC negative, E.coli negative
	
6/3/26: Went to Standard Plumbing and got 1/2" hose bib to temporarily replace sample tap for MPA water tests. Ran pumps by hand to figure out which vault was which. Met EPA contractor to set up surface water infiltration test (MPA), left well 1 running in manual mode because the test requires a continuous flow of water for accurate results

6/4/26: Turned well 1 back to auto mode and made sure well 1 vault was properly locked/secured after contractor removed testing equipment

6/5/26: 811 Locate at 6255 Juniper. Marked curbstop.

6/6/26-6/9/26: Weekend and overnight low tank level alarms, remote monitoring and manually turning boosters on and off.

6/8/26: Checked infrastructure; record pressures, tank levels, chlorine residual, and meters in pump house.  

6/10/26: Refilled chlorine barrel. Met delivery guy at pump house for chlorine delivery and removal of old barrels

6/11/26: Coordinated with Macy's to get 2 truckloads of potable water delivered to mid tank. Cleaned pump house while waiting for second truck load of water

6/16/26: Checked infrastructure; record pressures, tank levels, chlorine residual, and meters in pump house. Overnight low tank level alarms, remote monitoring and manually turning boosters on and off.
 

6/22/26: Checked infrastructure; record pressures, tank levels, chlorine residual, and meters in pump house.  Cleaned chlorine injection point

6/23/26: Replaced water meter in pit 6550 Forweal Dr.

6/29/26: Checked infrastructure; record pressures, tank levels, chlorine residual, and meters in pump house.  Cleaned chlorine injection point and replaced duckbill. Wrote instruction letter and dropped off lead and copper sample bottles at 5 houses.

6/30/26: Picked up 4 of 5 lead and copper samples. Coordinated with resident to pick up 5th bottle on July 1.
Upcoming Projects:
Replace totalizer meter in pump house vault with a meter that can tie into SCADA (see quote above)
Collect nitrates samples from the pump house
Suggested upcoming projects:
Perform leak detection on every curbstop in system. Enter data into GIS associated with each curbstop.
Install meters in each well vault that tie into SCADA.

Old Business
· None

New Business
· An application is being submitted for a grant for a new generator from the 2025 State Homeland Security Program.
· Work has started on the new transmission line project to replace all galvanized pipe in the District.
· Work has started on the replacement of the pumps on wells #1 & #2.
· The Final budget has been completed and is being submitted to the State Auditor’s Office.  Kevin made a motion to submit the final budget as presented; seconded by Wes; all in favor.

Claims
The following claims were reviewed and approved.  Wes made the motion to accept the claims, seconded by Natty; all in favor.  Wes made a motion to transfer $38,000 from the LRA to the O&M to pay the claims; seconded by Kevin; all in favor.

RESOLVE to pay the claims from O&M:  

Automation Werx	2,170.67
CH Diagnostic	585.00
Chip Marvin	100.00
Clearwater Operations	3,156.50
Janice Sproule	601.25
Jorgensen	9,010.00
Jorgensen	5,607.50
Lower Valley	417.41
Meagher MFC	2,714.82
One Call WY	11.55
Security Metrics	85.00
Teton County Health	20.00
TMSC	1,400.00
TMSC	23,519.25
TOTAL	$49,399.25
Account Report
Operation and Maintenance Account

Opening Balance 04/30/26	$6,271.99
Deposits	5,066.11	
LRA Transfer	1,100.00
Interest	1.18
Payments	(10,610.19)
Ending Balance 05/30/31	$1,819.09


Loan Repayment Account

Opening Balance 04/20/26	$40,750.52
Deposits	12,375.00
WGIF Transfer In	0.00	
Interest	20.58
WGIF Transfer Out	
Payments	1,100.00
Ending Balance 05/31/26	$52,046.10


Wyoming Government Investment Fund

Opening Balance 04/30/26	$323,755.02
LRA Transfer In		
Interest	973.79
LRA Transfer Out	0
Ending Balance 05/31/26	$324,728.81


Adjournment

There being no further business the meeting was adjourned at 6:07 pm.

Respectively submitted,

Janice Sproule, Secretary/Treasurer
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